## Slide 1: High Current Testing of Molded Case Circuit Breakers
Jim Doran x4515

## Slide 2
Objectives
Upon completion of this class, you will be able to:
State the safety precautions which are required when testing molded case circuit breakers.
State the faults that are protected against with both thermal and magnetic circuit breaker trips.
Explain why a circuit breakers are ambient compensated.
Explain the differences between a thermal and magnetic circuit breaker trips.

## Slide 3
Objectives (continued)
Determine a molded case breaker’s rating.
Determine the instantaneous trip point of a molded case circuit breaker in accordance with C MP 782AE.
Determine the thermal overload test current of a molded case circuit breaker in accordance with C MP 782AE.
Describe and demonstrate connecting the Multi-amp CB 8130 to a molded case circuit breaker for circuit breaker high current testing in accordance with C MP 782AE.
Describe and demonstrate the setup of the Multi-amp CB 8130 in accordance with C MP 782AE for both thermal and instantaneous circuit breaker high current testing.

## Slide 4
Objectives (continued)
Explain the purpose of the 5 minute wait between phases during thermal trip testing.
Identify the three states of a molded case circuit breaker.
Demonstrate the ability to perform high current testing of molded case circuit breakers.

## Slide 5
= $$$$$
Breaker Testing

## Slide 6
Class Preview
13:00 – 13:50 – Lecture
14:00 – 14:50 – Lab
15:00 – 16:00 – Review and Test

## Slide 7
Circuit Breakers
Thermal Trip
Magnetic Trip
Thermal Magnetic Circuit Breaker

## Slide 8
Breaker Faults

## Slide 9
Breaker Faults
Phase to Phase Short Circuit

## Slide 10
Breaker Faults
Undervoltage Condition
P = V * I

## Slide 11
Breaker Faults
Motor Ground

## Slide 12
Breaker Faults
Motor Overload

## Slide 13
Thermal Trips
Reference (Csanya, March 2011): [Circuit Breaker Illustration]. Retrieved April 25, 2014 from http://electrical-engineering-portal.com

## Slide 14
Breaker Curve
Multiple of Rated Current
Time in Seconds
Logarithmic Scale
From C MP 782AE

## Slide 15
Instantaneous Trips
Magnetic Field
Breaker Closed
Breaker Tripped
Reference (Csanya, March 2011): [Circuit Breaker Illustration]. Retrieved April 25, 2014 from http://electrical-engineering-portal.com

## Slide 16
Breaker Testing
UNSAT
UNSAT
SAT
Too Low
Too High
Allowable Trip Range
Breaker Stays Closed
Breaker Trips
Minimum of Two Tests

## Slide 17: Any Questions
Jim Doran x4515